FACILITATOR GUIDE — CONFIDENTIAL

Wastewater Management Failure

Wastewater Management Failure with third party dependencies

| Version | 1.0 |
| --- | --- |
| Status | DRAFT — For Review and Approval |
| Classification | Confidential — Facilitator Only |
| Document Owner | Exercise Facilitator / BCM Programme Owner |
| Date | 01 August 2026 |

1. PURPOSE AND FACILITATOR INSTRUCTIONS

This Facilitator Guide is the primary reference document for conducting this exercise. It contains the full Master Scenario Events List (MSEL), expected participant responses, evaluation criteria, discussion prompts, and post-exercise debrief guidance.

CONFIDENTIAL: This document is CONFIDENTIAL and must not be distributed to exercise participants before or during the exercise. It is for the facilitator(s) and observer(s) only.

Pre-Exercise Checklist

Review all injects and understand the intended learning for each

Confirm participant list, roles, and seating arrangements

Distribute Participant Briefs — do not distribute this guide

Confirm observer assignments and distribute evaluation criteria

Test any technology required (screen, projector, conferencing)

Confirm 'no duff' / exercise suspend protocol with all attendees

Protect the hot debrief slot — minimum 20 minutes at the end

Ensure a scribe or note-taker is assigned and briefed

2. EXERCISE SUMMARY

| Exercise Title | Wastewater Management Failure |
| --- | --- |
| Organisation | — |
| Category | — |
| Exercise Format | — |
| Complexity | Moderate |
| Duration | 120 minutes |
| Phases | 4 |
| Total Injects | 12 |
| Facilitator | — |
| Risk Alignment | — |

3. GOVERNANCE AND BCM PROGRAMME CONTEXT

This exercise is part of the organisation's annual BCM Validation Programme conducted under ISO 22301:2019 Clause 8.5 and BCI GPG 2018 PP6. Findings will be documented in an After Action Report (AAR), reviewed by the BCM Steering Committee, and actioned through the BCM Improvement Register.

4. ROLES AND RESPONSIBILITIES

| Role | Responsible (R) | Accountable (A) | Consulted (C) | Informed (I) |
| --- | --- | --- | --- | --- |
| Exercise Facilitator | Deliver exercise; manage MSEL; capture log | Facilitator | Observer, BCM Owner | All Participants |
| Observer(s) | Evaluate against criteria; record findings | BCM Owner | Facilitator | BCM Owner |
| BCM Programme Owner | Exercise sponsor; receive AAR; own action register | Exec Sponsor | CEO / Risk Committee | Board |
| Participants | Respond to injects; apply plans; make decisions | Line Managers | Facilitator | BCM Owner |
| Scribe / Note-taker | Record decisions, timestamps, and key observations | Facilitator | Observer | BCM Owner |

5. AIM AND LEARNING OBJECTIVES

Exercise Aim

To evaluate Barwon Water's ability to manage a wastewater management failure while ensuring minimal disruption to services and compliance with regulatory requirements.

Learning Objectives

| # | Objective | Capability Area | Success Criteria | Evaluation Method |
| --- | --- | --- | --- | --- |
| 1 | Test the effectiveness of the Crisis Management Team's (CMT) initial response to the wastewater management failure. | Incident Escalation | CMT convenes within 30 minutes of incident notification and establishes an initial action plan. | checklist |
| 2 | Validate the timeliness and accuracy of internal and external communications during the incident. | Crisis Communications | All communications are approved within 15 minutes and align with the golden rules of crisis communications. | checklist |
| 3 | Assess the decision-making process regarding the invocation of Business Continuity Plans (BCPs). | Decision-Making | BCPs are invoked within the established RTO of 2 hours for critical services. | checklist |
| 4 | Evaluate the ability to comply with regulatory notification requirements during the incident. | Regulatory And Legal | Regulatory bodies are notified within the required timeframes: FCA/PRA within 4 hours, ICO within 72 hours if applicable. | checklist |
| 5 | Confirm the adequacy of recovery strategies for restoring wastewater management operations. | Recovery And Lessons | Recovery strategies are initiated within the MTPD and achieve the MBCO for wastewater services. | checklist |

6. SCENARIO DESIGN

Scenario Narrative

Barwon Water is facing a critical malfunction in its wastewater management system at the Geelong treatment plant. A sudden and severe failure in critical third-party managed equipment has led to untreated wastewater being released into the Barwon River. The incident occurs during a period of heavy rainfall, exacerbating potential overflow and environmental impact. The failure not only threatens the integrity of water quality but also poses significant challenges in maintaining service continuity to the affected regions. As the organization scrambles to manage the immediate fault, they must also deal with the potential regulatory breaches and community concerns over environmental and health implications. This scenario tests Barwon Water's resilience and ability to coordinate an effective response amidst escalating operational, regulatory, and reputational challenges.

Trigger Event

An unexpected failure in the primary wastewater pump system, managed by a third-party contractor, leads to untreated waste entering the Barwon River during peak rainfall.

Known at Exercise Start

- The primary wastewater pump system has failed.

- Untreated wastewater is being discharged into the Barwon River.

- There's ongoing heavy rainfall increasing the risk of further overflow.

Unknown at Exercise Start

- The exact cause of the pump failure.

- The full extent of environmental impact.

- Whether the third-party contractor has a contingency plan in place.

- The timeline for repair and recovery of the system.

Exercise Assumptions

- All communications systems are operational.

- The crisis management team is immediately available.

- Local authorities are aware of the incident but have not yet intervened.

7. FACILITATION APPROACH

Deliver the exercise using the 10 / 70 / 20 structure: 10% briefing, 70% exercise, 20% hot debrief. Allow discussion to develop naturally before each inject. Probe with open questions if the group is not engaging with a critical decision point. Do not correct or coach during the exercise — note observations for the debrief.

Facilitation Principles

Read each inject clearly and allow 30 seconds before fielding questions

Do not add information not contained in the inject — preserve ambiguity

If participants are stuck: 'What does your plan say to do here?'

Record all decisions in the facilitator log with a timestamp and who decided

Use time pressure deliberately: 'You have 5 minutes to make this decision'

If an inject lands flat: 'So who owns this action?'

Do not correct wrong assumptions mid-exercise — note them for the debrief

Reserve the final 20% for hot debrief — protect this time rigorously

8. EXERCISE RISK ASSESSMENT

| Risk | Likelihood | Mitigation | Owner |
| --- | --- | --- | --- |
| Exercise scenario becomes reality ('No Duff') | High | Suspend immediately; invoke real response | Facilitator |
| Key participant absent on the day | Medium | Adjust roles; redistribute responsibilities | Facilitator |
| Exercise scenario causes participant distress | Low | Pause; apply welfare protocols; suspend if needed | Facilitator |
| Inject reveals real vulnerability | Medium | Note; debrief after exercise; do not explore further in session | BCM Owner |
| Over-confidence — team dismisses scenario | Medium | Introduce complication inject; escalate stakes | Facilitator |
| Technology failure during exercise | Low | Revert to printed materials; continue | Facilitator |

9. MASTER SCENARIO EVENTS LIST (MSEL)

The MSEL below contains all injects for this exercise in sequence. Each inject specifies the delivery time, channel, directed recipient, full inject text, expected participant actions, and evaluation criteria.

Phase: Initial Failure Detection

| # | T+ | Type / Channel | Inject Content | Expected Actions | Eval Criteria |
| --- | --- | --- | --- | --- | --- |
| 1 | T+5m | Information Email | FROM: Geelong Treatment Plant Control Alert: A malfunction has been detected in the wastewater management system. Initial reports indicate untreated wastewater is being released into the Barwon River. [Directed to: Crisis Management Team] | Initiate emergency notification procedures and convene the Crisis Management Team. | Timeliness and accuracy of team convening and initial notifications. |

Phase: Escalation and Impact Assessment

| # | T+ | Type / Channel | Inject Content | Expected Actions | Eval Criteria |
| --- | --- | --- | --- | --- | --- |
| 2 | T+25m | Escalation Radio | FROM: Citizen The untreated wastewater is leading to significant environmental impact. High levels of pollutants detected downstream. People are starting to notice and they are not happy about this. [Directed to: Executive Team] | Escalate to relevant regulatory bodies and assess environmental impact. | Appropriate escalation to regulators and initiation of environmental assessment. |

Phase: Crisis Communication

| # | T+ | Type / Channel | Inject Content | Expected Actions | Eval Criteria |
| --- | --- | --- | --- | --- | --- |
| 3 | T+55m | Comms Teams / Slack | FROM: Communications Team Social media is abuzz with concerns about water safety. Hashtags #BarwonWaterFail and #RiverPollution trending. [Directed to: Crisis Management Team] | Draft and release a holding statement addressing public concerns. | Effectiveness and timeliness of social media response and holding statement issuance. |
| 4 | T+60m | Action Email | FROM: Water Regulatory Authority Requesting a status update and compliance assurance regarding the Barwon River incident. [Directed to: Executive Team] | Prepare and send a compliance update to the regulatory authority. | Accuracy and speed of response to regulatory inquiry. |
| 5 | T+65m | Decision Radio | FROM: Local Government Local government demands immediate action to prevent further environmental damage amidst public pressure. [Directed to: Crisis Management Team] | Prioritize actions and communicate effectively with local government. | Ability to prioritize between environmental and operational responses. |

Phase: Recovery and Restoration

| # | T+ | Type / Channel | Inject Content | Expected Actions | Eval Criteria |
| --- | --- | --- | --- | --- | --- |
| 6 | T+85m | Information Teams / Slack | FROM: Operations Team Conflicting reports on equipment repair progress. Some teams report complete repairs, others report ongoing issues. [Directed to: Crisis Management Team] | Clarify repair status and update recovery plans accordingly. | Effectiveness of information clarification and adjustment of recovery plans. |
| 7 | T+90m | Comms News Bulletin | FROM: Local News Outlet **BREAKING NEWS SCRIPT – WASTEWATER INCIDENT** Good afternoon. We are following a developing story involving a wastewater issue affecting parts of the Barwon Water service area. Barwon Water has confirmed it is responding to an incident involving a wastewater system fault, with crews currently on site assessing the situation and working to contain the issue. At this stage, the cause has not been confirmed. The organisat | Prepare a spokesperson and key messages for the interview. | Preparedness and consistency of messaging in media interactions. |
| 8 | T+95m | Escalation Radio | FROM: Local Health Department Reports of health issues in the community potentially linked to the wastewater release. [Directed to: Crisis Management Team] | Coordinate with health authorities and update public health advisories. | Effectiveness of coordination with health authorities and public communication. |
| 9 | T+100m | Action Email | FROM: Equipment Supplier Update: Replacement parts for the malfunctioning equipment will arrive in 48 hours. [Directed to: Operations Team] | Update recovery plans based on new equipment arrival timeline. | Timeliness and accuracy of recovery plan updates. |
| 10 | T+105m | Action Email | FROM: Crisis Management Team Leader Please prepare for a post-incident review meeting to discuss lessons learned and improvements. [Directed to: All Participants] | Prepare for and participate in the post-incident review. | Participation and quality of feedback in the review process. |

Phase: General

| # | T+ | Type / Channel | Inject Content | Expected Actions | Eval Criteria |
| --- | --- | --- | --- | --- | --- |
| 11 | T+0m | Information Dark Web | Barwon Water is contacted by hackers with a ransom ultimatum. They have used the disruption as the mechanism to attack and have stolen some data. Will they pay the $500,000 asked? | Not specified | Not specified |
| 12 | T+0m | Information News Bulletin | The chief wardens and clinical health coordinators need to manage a flood basement of a major regional hospital. | Assess the risk, review business continuity strategies, identify impacted services, contact stakeholders. | Not specified |

10. HOT DEBRIEF

Conduct the hot debrief immediately on completion of the exercise — within 30 minutes while events are fresh. This is a no-blame, facilitator-led session of 20–30 minutes and feeds directly into the After Action Report.

Hot Debrief Structure

| Step | Phase | Facilitator Notes |
| --- | --- | --- |
| 1 | Opening (2 min) | Thank participants. Confirm no-blame ground rules. Confirm notes are being taken. |
| 2 | What Went Well? (8 min) | Go around the room — each team nominates one thing that worked. Record on flip chart. |
| 3 | What Would You Change? (8 min) | Probe for gaps without attribution. Focus on plans, processes, information flows. |
| 4 | Key Findings Summary (5 min) | Facilitator reads back top 3 themes. Seek participant confirmation. |
| 5 | Next Steps (3 min) | Confirm AAR timeline, action log owner, and distribution list. |

Key Probing Questions

What enabled that decision to be made quickly?

What information did you need that you didn't have?

Was the plan clear on who should do that?

At what point did you feel most uncertain — and why?

Were the right people in the room when decisions needed to be made?

What would you wish you had prepared in advance if this were real?

Were any regulatory or notification obligations identified — by whom and when?

Did the scenario reveal any assumptions about systems or resources that were wrong?

11. LESSONS LEARNED AND CONTINUOUS IMPROVEMENT

All findings from this exercise must be documented in the After Action Report (AAR) and actioned through the BCM Improvement Register. The improvement register is reviewed at the BCM Steering Committee and overdue actions are escalated to the programme sponsor.

| Classification | Target Timeframe | Description |
| --- | --- | --- |
| Immediate | 0–30 days | Critical gaps; regulatory exposure; life-safety issues |
| Short-term | 1–3 months | Significant plan or process gaps; material exercise findings |
| Long-term | 3–12 months | Programme improvements; training design; procurement |

FACILITATOR / OBSERVER ONLY  ·  Confidential — Facilitator Only  ·  BC Studio  ·  01 August 2026