## Slide 1
BC STUDIO
EXERCISE ONLY — NOT FOR DISTRIBUTION
Wastewater Management Failure
Tabletop | 120 minutes

## Slide 2
EXERCISE OVERVIEW
Wastewater Management Failure
Exercise Type
Tabletop
Format
—
Complexity
Moderate
Duration
120 minutes
Category
—
Scenario
Wastewater Management Failure with third party dependencies
AIM
To evaluate Barwon Water's ability to manage a wastewater management failure while ensuring minimal disruption to services and compliance with regulatory requirements.
SCENARIO
Barwon Water is facing a critical malfunction in its wastewater management system at the Geelong treatment plant. A sudden and severe failure in critical third-party managed equipment has led to untreated wastewater being released into the Barwon River. The incident occurs during a period of heavy rainfall, exacerbating potential overflow and environmental impact. The failure not only threatens the integrity of water quality but also poses significant challenges in maintaining service continuity to the affected regions. As the organization scrambles to manage the immediate fault, they must als

## Slide 3
LEARNING OBJECTIVES
Wastewater Management Failure
OBJ-01
Test the effectiveness of the Crisis Management Team's (CMT) initial response to the wastewater management failure.
✓ CMT convenes within 30 minutes of incident notification and establishes an initial action plan.
OBJ-02
Validate the timeliness and accuracy of internal and external communications during the incident.
✓ All communications are approved within 15 minutes and align with the golden rules of crisis communications.
OBJ-03
Assess the decision-making process regarding the invocation of Business Continuity Plans (BCPs).
✓ BCPs are invoked within the established RTO of 2 hours for critical services.
OBJ-04
Evaluate the ability to comply with regulatory notification requirements during the incident.
✓ Regulatory bodies are notified within the required timeframes: FCA/PRA within 4 hours, ICO within 72 hours if applicable.
OBJ-05
Confirm the adequacy of recovery strategies for restoring wastewater management operations.
✓ Recovery strategies are initiated within the MTPD and achieve the MBCO for wastewater services.

## Slide 4
EXERCISE PHASES
Wastewater Management Failure
1
Initial Failure Detection
T+0–20 min (20 min)
Testing the initial response and notification procedures.
2
Escalation and Impact Assessment
T+20–50 min (30 min)
Evaluating escalation protocols and initial assessment of impacts on operations and stakeholders.
3
Crisis Communication
T+50–80 min (30 min)
Assessing internal and external communication strategies, including media handling and stakeholder updates.
4
Recovery and Restoration
T+80–100 min (20 min)
Testing continuity plans and restoration of normal operations.

## Slide 5
Wastewater Management Failure
Duration: 2h 00min | |
EXERCISE ONLY
Phase 1
Testing the initial
Phase 2
Evaluating escalatio
Phase 3
Assessing internal a
11
T+0min
Ransom Ultimatum
12
T+0min
Basement of Hospital Flooded
The chief wardens and clinical health coordi
1
T+5min
Initial System Alert
2
T+25min
Environmental Impact Report
The untreated wastewater is leading to signi
3
T+55min
Social Media Backlash
Social media is abuzz with concerns about wa
4
T+60min
Regulatory Compliance Query
5
T+65min
Competing Priorities
Local government demands immediate action to
Inject / Situation Update
Decision Point / Escalation
REVIEW FOCUS:
Testing the initial re
Evaluating escalation
Assessing internal and
12 injects |

## Slide 6
EXERCISE ONLY — NOT FOR OPERATIONAL USE
INJ 001
1 of 12
T+5 min | Initial Failure Detection | via Email | Information
Geelong Treatment Plant Control → Crisis Management Team
Initial System Alert
Alert: A malfunction has been detected in the wastewater management system. Initial reports indicate untreated wastewater is being released into the Barwon River.
EXPECTED ACTIONS
• Initiate emergency notification procedures and convene the Crisis Management Team.
EVALUATION CRITERIA
Timeliness and accuracy of team convening and initial notifications.
FACILITATOR NOTE: Introduce confusion by providing incomplete information. Observe initial response actions.

## Slide 7
EXERCISE ONLY — NOT FOR OPERATIONAL USE
INJ 002
2 of 12
T+25 min | Escalation and Impact Assessment | via Radio | Escalation
Citizen → Executive Team
Environmental Impact Report
The untreated wastewater is leading to significant environmental impact. High levels of pollutants detected downstream. People are starting to notice and they are not happy about this.
EXPECTED ACTIONS
• Escalate to relevant regulatory bodies and assess environmental impact.
EVALUATION CRITERIA
Appropriate escalation to regulators and initiation of environmental assessment.
📎 ARTEFACT REQUIRED
FACILITATOR NOTE: Highlight the potential regulatory and environmental impacts. Test escalation protocols.

## Slide 8
EXERCISE ONLY — NOT FOR OPERATIONAL USE
INJ 003
3 of 12
T+55 min | Crisis Communication | via Teams / Slack | Communications
Communications Team → Crisis Management Team
Social Media Backlash
Social media is abuzz with concerns about water safety. Hashtags #BarwonWaterFail and #RiverPollution trending.
EXPECTED ACTIONS
• Draft and release a holding statement addressing public concerns.
EVALUATION CRITERIA
Effectiveness and timeliness of social media response and holding statement issuance.
FACILITATOR NOTE: Observe how the team manages public perception and social media engagement.

## Slide 9
EXERCISE ONLY — NOT FOR OPERATIONAL USE
INJ 004
4 of 12
T+60 min | Crisis Communication | via Email | Action Required
Water Regulatory Authority → Executive Team
Regulatory Compliance Query
Requesting a status update and compliance assurance regarding the Barwon River incident.
EXPECTED ACTIONS
• Prepare and send a compliance update to the regulatory authority.
EVALUATION CRITERIA
Accuracy and speed of response to regulatory inquiry.
FACILITATOR NOTE: Test the ability to handle regulatory inquiries under pressure.

## Slide 10
EXERCISE ONLY — NOT FOR OPERATIONAL USE
INJ 005
5 of 12
T+65 min | Crisis Communication | via Radio | Decision Point
Local Government → Crisis Management Team
Competing Priorities
Local government demands immediate action to prevent further environmental damage amidst public pressure.
EXPECTED ACTIONS
• Prioritize actions and communicate effectively with local government.
EVALUATION CRITERIA
Ability to prioritize between environmental and operational responses.
FACILITATOR NOTE: Introduce conflicting priorities requiring strategic decision-making.

## Slide 11
EXERCISE ONLY — NOT FOR OPERATIONAL USE
INJ 006
6 of 12
T+85 min | Recovery and Restoration | via Teams / Slack | Information
Operations Team → Crisis Management Team
Conflicting Reports
Conflicting reports on equipment repair progress. Some teams report complete repairs, others report ongoing issues.
EXPECTED ACTIONS
• Clarify repair status and update recovery plans accordingly.
EVALUATION CRITERIA
Effectiveness of information clarification and adjustment of recovery plans.
FACILITATOR NOTE: Introduce ambiguity to test information management and decision-making.

## Slide 12
EXERCISE ONLY — NOT FOR OPERATIONAL USE
INJ 007
7 of 12
T+90 min | Recovery and Restoration | via News Bulletin | Communications
Local News Outlet → Communications Team
Media Inquiry
**BREAKING NEWS SCRIPT – WASTEWATER INCIDENT** Good afternoon. We are following a developing story involving a wastewater issue affecting parts of the Barwon Water service area. Barwon Water has confirmed it is responding to an incident involving a wastewater system fault, with crews currently on site assessing the situation and working to contain the issue. At this stage, the cause has not been confirmed. The organisation says public health and environmental protection are its immediate priorities, and it is working closely with relevant authorities. Residents in the affected area are being asked to avoid contact with any visible wastewater or pooled water and to follow official advice as it becomes available. Barwon Water is expected to provide a further update shortly as more information is confirmed. More to follow.
EXPECTED ACTIONS
• Prepare a spokesperson and key messages for the interview.
EVALUATION CRITERIA
Preparedness and consistency of messaging in media interactions.
📎 ARTEFACT REQUIRED
FACILITATOR NOTE: Test media handling skills and preparedness for interviews.

## Slide 13
EXERCISE ONLY — NOT FOR OPERATIONAL USE
INJ 008
8 of 12
T+95 min | Recovery and Restoration | via Radio | Escalation
Local Health Department → Crisis Management Team
Community Health Concerns
Reports of health issues in the community potentially linked to the wastewater release.
EXPECTED ACTIONS
• Coordinate with health authorities and update public health advisories.
EVALUATION CRITERIA
Effectiveness of coordination with health authorities and public communication.
FACILITATOR NOTE: Introduce health implications to assess crisis management adaptability.

## Slide 14
EXERCISE ONLY — NOT FOR OPERATIONAL USE
INJ 009
9 of 12
T+100 min | Recovery and Restoration | via Email | Action Required
Equipment Supplier → Operations Team
Equipment Supplier Update
Update: Replacement parts for the malfunctioning equipment will arrive in 48 hours.
EXPECTED ACTIONS
• Update recovery plans based on new equipment arrival timeline.
EVALUATION CRITERIA
Timeliness and accuracy of recovery plan updates.
FACILITATOR NOTE: Test supply chain management and adjustment of recovery timelines.

## Slide 15
EXERCISE ONLY — NOT FOR OPERATIONAL USE
INJ 010
10 of 12
T+105 min | Recovery and Restoration | via Email | Action Required
Crisis Management Team Leader → All Participants
Post-Incident Review Announcement
Please prepare for a post-incident review meeting to discuss lessons learned and improvements.
EXPECTED ACTIONS
• Prepare for and participate in the post-incident review.
EVALUATION CRITERIA
Participation and quality of feedback in the review process.
FACILITATOR NOTE: Set the stage for after-action review and continuous improvement.

## Slide 16
EXERCISE ONLY — NOT FOR OPERATIONAL USE
INJ 011
11 of 12
T+0 min | via Dark_Web | Information
Ransom Ultimatum
Barwon Water is contacted by hackers with a ransom ultimatum. They have used the disruption as the mechanism to attack and have stolen some data. Will they pay the $500,000 asked?
📎 ARTEFACT REQUIRED
EXERCISE ONLY — NOT FOR OPERATIONAL USE

## Slide 17
EXERCISE ONLY — NOT FOR OPERATIONAL USE
INJ 012
12 of 12
T+0 min | via News Bulletin | Information
Basement of Hospital Flooded
The chief wardens and clinical health coordinators need to manage a flood basement of a major regional hospital.
EXPECTED ACTIONS
• Assess the risk, review business continuity strategies, identify impacted services, contact stakeholders.
📎 ARTEFACT REQUIRED
EXERCISE ONLY — NOT FOR OPERATIONAL USE

## Slide 18
MASTER SCENARIO EVENTS LIST (MSEL)
Wastewater Management Failure
# | T+ | Phase | Channel | Title | Expected Actions
001 | +5m | Initial Failure Detection | Email | Initial System Alert | Initiate emergency notification procedures and convene the Crisis Management Team.
002 | +25m | Escalation and Impact Assessment | Radio | Environmental Impact Report | Escalate to relevant regulatory bodies and assess environmental impact.
003 | +55m | Crisis Communication | Teams / Slack | Social Media Backlash | Draft and release a holding statement addressing public concerns.
004 | +60m | Crisis Communication | Email | Regulatory Compliance Query | Prepare and send a compliance update to the regulatory authority.
005 | +65m | Crisis Communication | Radio | Competing Priorities | Prioritize actions and communicate effectively with local government.
006 | +85m | Recovery and Restoration | Teams / Slack | Conflicting Reports | Clarify repair status and update recovery plans accordingly.
007 | +90m | Recovery and Restoration | News Bulletin | Media Inquiry | Prepare a spokesperson and key messages for the interview.
008 | +95m | Recovery and Restoration | Radio | Community Health Concerns | Coordinate with health authorities and update public health advisories.
009 | +100m | Recovery and Restoration | Email | Equipment Supplier Update | Update recovery plans based on new equipment arrival timeline.
010 | +105m | Recovery and Restoration | Email | Post-Incident Review Announcement | Prepare for and participate in the post-incident review.
011 | +0m |  | dark_web | Ransom Ultimatum | 
012 | +0m |  | News Bulletin | Basement of Hospital Flooded | Assess the risk, review business continuity strategies, identify impacted services, contact stakeholders.