FACILITATOR GUIDE — CONFIDENTIAL

Severely damaged pipes

| Version | 1.0 |
| --- | --- |
| Status | DRAFT — For Review and Approval |
| Classification | Confidential — Facilitator Only |
| Document Owner | Exercise Facilitator / BCM Programme Owner |
| Date | 01 August 2026 |

1. PURPOSE AND FACILITATOR INSTRUCTIONS

This Facilitator Guide is the primary reference document for conducting this exercise. It contains the full Master Scenario Events List (MSEL), expected participant responses, evaluation criteria, discussion prompts, and post-exercise debrief guidance.

CONFIDENTIAL: This document is CONFIDENTIAL and must not be distributed to exercise participants before or during the exercise. It is for the facilitator(s) and observer(s) only.

Pre-Exercise Checklist

Review all injects and understand the intended learning for each

Confirm participant list, roles, and seating arrangements

Distribute Participant Briefs — do not distribute this guide

Confirm observer assignments and distribute evaluation criteria

Test any technology required (screen, projector, conferencing)

Confirm 'no duff' / exercise suspend protocol with all attendees

Protect the hot debrief slot — minimum 20 minutes at the end

Ensure a scribe or note-taker is assigned and briefed

2. EXERCISE SUMMARY

| Exercise Title | Severely damaged pipes |
| --- | --- |
| Organisation | — |
| Category | — |
| Exercise Format | — |
| Complexity | Moderate |
| Duration | 120 minutes |
| Phases | 0 |
| Total Injects | 10 |
| Facilitator | — |
| Risk Alignment | Risk that organisation is unable to respond to critical infrastructure failing (severely damaged pipes) |

3. GOVERNANCE AND BCM PROGRAMME CONTEXT

This exercise is part of the organisation's annual BCM Validation Programme conducted under ISO 22301:2019 Clause 8.5 and BCI GPG 2018 PP6. Findings will be documented in an After Action Report (AAR), reviewed by the BCM Steering Committee, and actioned through the BCM Improvement Register.

4. ROLES AND RESPONSIBILITIES

| Role | Responsible (R) | Accountable (A) | Consulted (C) | Informed (I) |
| --- | --- | --- | --- | --- |
| Exercise Facilitator | Deliver exercise; manage MSEL; capture log | Facilitator | Observer, BCM Owner | All Participants |
| Observer(s) | Evaluate against criteria; record findings | BCM Owner | Facilitator | BCM Owner |
| BCM Programme Owner | Exercise sponsor; receive AAR; own action register | Exec Sponsor | CEO / Risk Committee | Board |
| Participants | Respond to injects; apply plans; make decisions | Line Managers | Facilitator | BCM Owner |
| Scribe / Note-taker | Record decisions, timestamps, and key observations | Facilitator | Observer | BCM Owner |

5. AIM AND LEARNING OBJECTIVES

Exercise Aim

To evaluate Barwon Water's ability to effectively respond to and recover from a severe infrastructure failure involving damaged pipes, ensuring minimal disruption to critical water supply and wastewater management services.

Learning Objectives

| # | Objective | Capability Area | Success Criteria | Evaluation Method |
| --- | --- | --- | --- | --- |
| 1 | Test the effectiveness of the Crisis Management Team's activation and initial response to the infrastructure failure. | Incident Escalation | CMT is activated within 30 minutes of incident notification; initial response actions are aligned with the crisis management plan. | checklist |
| 2 | Validate the communication protocols and effectiveness of internal and external communications during the incident. | Crisis Communications | Communication to stakeholders, including regulators and customers, is initiated within predefined timeframes, with messages consistent and factual. | checklist |
| 3 | Assess the ability of the Business Recovery Teams to implement continuity and recovery plans effectively. | Business Continuity Activation | Continuity plans are executed within the defined Recovery Time Objective (RTO) for critical services, and recovery actions are documented. | checklist |
| 4 | Evaluate decision-making processes and clarity of role responsibilities during the incident. | Decision-Making | Decisions are made within appropriate authority levels, with clear documentation of decision rationale and role responsibilities. | checklist |
| 5 | Confirm compliance with regulatory and legal obligations related to incident notification and response. | Regulatory And Legal | All regulatory notifications are completed within the prescribed timeframes, and compliance with relevant regional regulations is maintained. | checklist |

6. SCENARIO DESIGN

Scenario Narrative

A severe weather event has caused unprecedented rainfall in the region served by Barwon Water. The excessive rain has led to the saturation of the ground, resulting in significant pressure on the underground water pipes. In the early morning hours, a critical section of the main water distribution pipes located near the regional pumping station sustains severe damage, leading to a major leak. This damages the flow of water supply to several key communities and industrial clients. The sudden loss of pressure is detected by the central control system, triggering alarms and alerts within the operations center. As the day progresses, the damage worsens, leading to potential contamination risks and heightened concerns over water quality. The situation requires immediate crisis management to ensure water supply continuity, manage public communication, and meet regulatory reporting obligations.

Trigger Event

At 4:30 AM, the central operations system detects a significant drop in water pressure in the main pipeline servicing several key areas. Initial manual checks confirm the presence of a major leak due to pipe damage caused by ground saturation.

Known at Exercise Start

- Water pressure has dropped significantly in the main pipeline.

- A major leak is confirmed near the regional pumping station.

- Initial impact on water supply to multiple communities is evident.

- Crisis Management Team is activated.

Unknown at Exercise Start

- The full extent of the pipe damage and potential need for repairs.

- The impact on water quality and potential contamination.

- The time required to restore normal water supply.

- The root cause of the pipe failure.

Exercise Assumptions

- The exercise assumes no actual environmental hazard, and all communications are simulated.

- External stakeholders such as regulatory bodies and media are simulated by the exercise control team.

- All technical fixes are artificially accelerated for exercise purposes.

7. FACILITATION APPROACH

Deliver the exercise using the 10 / 70 / 20 structure: 10% briefing, 70% exercise, 20% hot debrief. Allow discussion to develop naturally before each inject. Probe with open questions if the group is not engaging with a critical decision point. Do not correct or coach during the exercise — note observations for the debrief.

Facilitation Principles

Read each inject clearly and allow 30 seconds before fielding questions

Do not add information not contained in the inject — preserve ambiguity

If participants are stuck: 'What does your plan say to do here?'

Record all decisions in the facilitator log with a timestamp and who decided

Use time pressure deliberately: 'You have 5 minutes to make this decision'

If an inject lands flat: 'So who owns this action?'

Do not correct wrong assumptions mid-exercise — note them for the debrief

Reserve the final 20% for hot debrief — protect this time rigorously

8. EXERCISE RISK ASSESSMENT

| Risk | Likelihood | Mitigation | Owner |
| --- | --- | --- | --- |
| Exercise scenario becomes reality ('No Duff') | High | Suspend immediately; invoke real response | Facilitator |
| Key participant absent on the day | Medium | Adjust roles; redistribute responsibilities | Facilitator |
| Exercise scenario causes participant distress | Low | Pause; apply welfare protocols; suspend if needed | Facilitator |
| Inject reveals real vulnerability | Medium | Note; debrief after exercise; do not explore further in session | BCM Owner |
| Over-confidence — team dismisses scenario | Medium | Introduce complication inject; escalate stakes | Facilitator |
| Technology failure during exercise | Low | Revert to printed materials; continue | Facilitator |

9. MASTER SCENARIO EVENTS LIST (MSEL)

The MSEL below contains all injects for this exercise in sequence. Each inject specifies the delivery time, channel, directed recipient, full inject text, expected participant actions, and evaluation criteria.

Phase: Initial Alert

| # | T+ | Type / Channel | Inject Content | Expected Actions | Eval Criteria |
| --- | --- | --- | --- | --- | --- |
| 1 | T+5m | Information Email | FROM: Control Room Subject: Urgent: Sudden Drop in Water Pressure Hi Team, We've detected a significant drop in water pressure in the main distribution line near the regional pumping station. Immediate investigation is required. Best, Control Room [Directed to: Operations Manager] | Crisis Management Team (CMT) activation and initial assessment of situation. | CMT is activated within 30 minutes of incident notification. |

Phase: Situation Development

| # | T+ | Type / Channel | Inject Content | Expected Actions | Eval Criteria |
| --- | --- | --- | --- | --- | --- |
| 2 | T+13m | Escalation Phone Call | FROM: Field Engineer Field Engineer: We've confirmed a major leak near the regional station. The pipes are severely damaged due to ground saturation. It looks like water contamination is possible. [Directed to: Operations Manager] | Participants should escalate the issue and begin contamination risk assessment. | Prompt escalation and initiation of contamination assessment. |

Phase: Escalation

| # | T+ | Type / Channel | Inject Content | Expected Actions | Eval Criteria |
| --- | --- | --- | --- | --- | --- |
| 3 | T+21m | Comms Teams / Slack | FROM: Regulatory Affairs Heads up: The regulator just reached out. They want an update on the water supply issue within the next 2 hours. Need to coordinate our response. [Directed to: CMT] | Draft and approve a response to satisfy regulatory requirements. | Timely and accurate communication with the regulator. |
| 4 | T+29m | Comms Social Media Post | FROM: Local Resident What's happening with our water? Pressure is low and tastes weird. @BarwonWater #WaterCrisis [Directed to: Public] | Dispatch public communication team to address public concerns. | Effective and consistent public communication addressing concerns. |

Phase: Complication

| # | T+ | Type / Channel | Inject Content | Expected Actions | Eval Criteria |
| --- | --- | --- | --- | --- | --- |
| 5 | T+37m | Decision Teams / Slack | FROM: Health and Safety Lead We need to decide if a boil water notice is necessary. Possible contamination from the leak. [Directed to: CMT] | Evaluate the need for a public safety advisory. | Timely and appropriate decision on issuing a public advisory. |
| 7 | T+53m | Comms Email | FROM: Major Industrial Client Subject: Urgent: Water Supply Issue Dear Barwon Water, Our operations are severely impacted by the water supply issue. We need an immediate update on the expected restoration timeline. Regards, Industrial Client [Directed to: Customer Service] | Communicate restoration plans and timelines to key industrial clients. | Effective and timely communication with industrial clients. |

Phase: External Pressure

| # | T+ | Type / Channel | Inject Content | Expected Actions | Eval Criteria |
| --- | --- | --- | --- | --- | --- |
| 6 | T+45m | Comms Phone Call | FROM: Local News Reporter Reporter: We've heard about the water issue. What's being done to fix it? Is it safe to drink? [Directed to: Communications Lead] | Prepare and deliver a holding statement for the media. | Consistent and factual media response. |

Phase: Decision Point

| # | T+ | Type / Channel | Inject Content | Expected Actions | Eval Criteria |
| --- | --- | --- | --- | --- | --- |
| 8 | T+61m | Decision Executive Request | FROM: Crisis Management Team Lead We need to consider water rationing for affected areas. Please provide an assessment of impact and feasibility. [Directed to: Operations Manager] | Assess and propose a water rationing plan. | Balanced decision on resource allocation with documented rationale. |
| 9 | T+69m | Action Regulator Notice | FROM: Water Authority Ref: 2023/09 Water Incident Barwon Water, Please submit your incident report by end of business today, detailing the cause, impact, and mitigation actions. Non-compliance may result in penalties. Regards, Water Authority [Directed to: Regulatory Affairs] | Compile and submit the required incident report to the regulator. | Compliance with regulatory reporting obligations. |

Phase: Recovery Initiation

| # | T+ | Type / Channel | Inject Content | Expected Actions | Eval Criteria |
| --- | --- | --- | --- | --- | --- |
| 10 | T+77m | Action Teams / Slack | FROM: Operations Manager We've started repairs on the damaged pipes. Let's plan for a gradual return to normal operations over the next 48 hours. [Directed to: Business Recovery Teams] | Initiate recovery plans and communicate timelines for service restoration. | Effective initiation of recovery plans and communication of return-to-normal timelines. |

10. HOT DEBRIEF

Conduct the hot debrief immediately on completion of the exercise — within 30 minutes while events are fresh. This is a no-blame, facilitator-led session of 20–30 minutes and feeds directly into the After Action Report.

Hot Debrief Structure

| Step | Phase | Facilitator Notes |
| --- | --- | --- |
| 1 | Opening (2 min) | Thank participants. Confirm no-blame ground rules. Confirm notes are being taken. |
| 2 | What Went Well? (8 min) | Go around the room — each team nominates one thing that worked. Record on flip chart. |
| 3 | What Would You Change? (8 min) | Probe for gaps without attribution. Focus on plans, processes, information flows. |
| 4 | Key Findings Summary (5 min) | Facilitator reads back top 3 themes. Seek participant confirmation. |
| 5 | Next Steps (3 min) | Confirm AAR timeline, action log owner, and distribution list. |

Key Probing Questions

What enabled that decision to be made quickly?

What information did you need that you didn't have?

Was the plan clear on who should do that?

At what point did you feel most uncertain — and why?

Were the right people in the room when decisions needed to be made?

What would you wish you had prepared in advance if this were real?

Were any regulatory or notification obligations identified — by whom and when?

Did the scenario reveal any assumptions about systems or resources that were wrong?

11. LESSONS LEARNED AND CONTINUOUS IMPROVEMENT

All findings from this exercise must be documented in the After Action Report (AAR) and actioned through the BCM Improvement Register. The improvement register is reviewed at the BCM Steering Committee and overdue actions are escalated to the programme sponsor.

| Classification | Target Timeframe | Description |
| --- | --- | --- |
| Immediate | 0–30 days | Critical gaps; regulatory exposure; life-safety issues |
| Short-term | 1–3 months | Significant plan or process gaps; material exercise findings |
| Long-term | 3–12 months | Programme improvements; training design; procurement |

FACILITATOR / OBSERVER ONLY  ·  Confidential — Facilitator Only  ·  BC Studio  ·  01 August 2026